|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | | | | | | | | |
|  |  | | **.**  **HSE OPERATIONAL CONTROL PROCEDURE** | **DOC No.** | | | | |
| **OCP No.** | | | | |
| **Date :** | | | | |
| **ACTIVITY: DISPOSAL OF SEWAGE**  **Project : Location :**  **Sub-contractor: Nature of work:**  **Purpose:** To dispose canteen and septic tank waste water of project site | | | | | | | | |
|  | **Sl.**  **No.** | **Procedures** | | | **Performed**  **by** | | **Checked**  **by** | |
|  | 1 | The Canteen wastewater after septic tank and general WC/Urinal wastewater from septic tank system is periodically hauled or connected to Municipal Sewage System | | |  |  |  |  |
|  | 2 | Engage Cess Pool Tanker system from local Municipality or commercial sources for removing the septic tank contents periodically | | |  |  |  |  |
|  | 3 | Ensure the cesspool tanker contents are unloaded for agricultural practices or in an area for secured disposal | | |  |  |  |  |
|  | **Prepared By : Approved By**  **SE / SS : Project Manager**  **Date : Date** | | | | **:**  **:**  **:** |  |  |  |